## CRE v5.0 DG Matrix
Topic | Subtopic | Stakeholder Comment | EPA Response
General | Timing | A couple of commenters suggest that new commercial refrigeration equipment classes considered for scope expansion need to be evaluated and regulated by the Department of Energy before ENERGY STAR sets criteria. | The ENERGY STAR program has a long track record for developing test methods and product specifications for product categories that are not regulated by a Federal standard.
| Refrigerants | One commenter anticipates potential impacts of the American Innovation and Manufacturing (AIM) Act to the ENERGY STAR program that might limit the sale of certain certified products containing high-GWP refrigerants in some parts of the country like California, where many HFCs are prohibited. | The AIM Act and its economy-wide phasedown of HFCs will be the principle driver for the transition away from HFCs. The AIM Act will phase down the production and consumption of listed HFCs, maximize reclamation and minimize releases of HFCs, and will facilitate the transition to next-generation technologies by restricting the use of HFCs in particular sectors or subsectors. Leveraging the ENERGY STAR platform, EPA has taken a number of complimentary steps to raise the profile and contribute to market adoption of lower GWP refrigerants. Beginning in 2016, the ENERGY STAR Emerging Technology (ET award) has recognized several relevant technologies, including refrigerators with low-GWP refrigerant systems, solid state refrigerators that use no refrigerant and advanced adaptive compressors for refrigerators with a combined GWP of refrigerant and foam of less than 15. The ET award has also recognized room air conditioners that use lower-GWP HFC-32. Through our annual ENERGY STAR refrigerator promotion, we work with utility, manufacturer, and retail partners to promote responsible recycling in conjunction with the Responsible Appliance Disposal (RAD) program. Further, recognizing the value in enhancing consumer awareness around lower GWP refrigerants, we are enhancing the ENERGY STAR Product Finder by adding a low GWP filter for relevant ENERGY STAR certified models and enhancing ENERGY STAR buying guidance to address the benefits of low GWP refrigerants.
| Product lifetime | A stakeholder responded to a specific question from the discussion guide stating that, for refrigerated preparation and buffet tables, chef bases/griddle stands, and blast chillers/freezers, the anticipated lifetime, based on a 12 hour and 7 day operation, is 8-12 years. | The EPA takes this comment into consideration for further savings analyses and acknowledges that there are stakeholders who have suggested the refrigerated compartments run 24 hours while others do not. EPA will take the conservative approach and account for 24 hour energy use. Further, based on California's electronic Technical Manual (eTRM) these refrigerated units have an average lifetime of 12 years.
Definitions | Preparation/Buffet Tables | Multiple stakeholders suggested separating preparation and buffet tables by application. Noting that buffet tables typically have empty open cavity on the bottom, but preparation tables typically have cold storage below. Furthermore, one stakeholder noted how even within the preparation table classification, there are several additional sub-classifications. It was recommended that EPA separate each class of prep table beyond just separating based on preparation and buffet. Furthermore, several stakeholders indicated how the preparation tables in particular should be separated from a refrigerated storage space from an unrefrigerated storage space. | EPA aligns with the terms and definitions used in the 10 CFR Subpart C §431.62 where appropriate. EPA is not expanding the scope to include preparation tables or buffet tables at this time, but will continue to track DOEs progress during the next Rulemaking process. The Agency will update the ENERGY STAR specification during a future iteration, as needed, to ensure all terms and definitions are clear and reflective of their respective classification of commercial refrigeration equipment.
Scope | VCT.RC.M, VCT.RC.L, and SOC.RC.M | Though several energy efficiency advocates support scope expansion to remote condensing (RC) models since they are included in the DOE Federal standard, manufacturers expressed concerns about including the VCT.RC.M, VCT.RC.L, and SOC.RC.M into the ENERGY STAR commercial refrigerator and freezer product specification. One concern is refrigerant leakage from RC refrigeration systems that would need to be clearly defined if included in the spec. Another concern is the inability to fairly compare RC compartments to total energy load of self-contained (SC) models. One commenter recounted that compressor energy is based on a calculation in the AHRI 1200 Standard, while the ASHRAE 72 test method determines the heat load on the case but there appears to be no approach to test energy consumption of the condenser. | The EPA appreciates the stakeholder comments. In addition to concerns noted by commenters, as well as due to a lack of manufacturer and operator interest, which are critical for a voluntary program, EPA has determined not to include in scope remote condensing (RC) models in the ENERGY STAR v5.0 product specification. As part of the spec revision package, the program will provide educational resources on refrigerants as well as energy saving and maintenance tips for remote condensing models and open cases.
| VCT.RC.M, VCT.RC.L, and SOC.RC.M | Several stakeholders note that remote cases may be connected to either single or multi-compressor condensing systems depending on the store/operator size, capacity, and ownership type. For instance, in large company-owned buildings, like grocery stores, cases (VCT.RC.M, VCT.RC.L) are typically connected to multi-compressor condensing systems but in quick service, mini-market, and gas stations cases tend to be connected to dedicated compressor/condenser systems. One commenter mentioned that for reach-in refrigerators and freezers, only 20% are dedicated and the rest are multi-rack. In addition, that RC cases may be bought and replaced separately from the compressors and condensers such that each element may be from a different manufacturer. Further, stakeholders do not identify specific equipment characteristics that would select for case connection to single vs. multi-compressor condensing systems. Commenters indicate that manufacturers do not typically have insights into installation of cases to specific compressor or condenser systems, but that the RC models under consideration are typically installed with multi-compressor condensing systems. Preliminary findings from one commenter suggest that SOC.RC.M are typically connected to dedicated compressor/condenser systems or are self-contained models (SOC.SC.M). The SOCs, as one commenter writes, have common, technologically feasible designs driving improvements including energy efficient motors and compressors, also LED lights. Other commenters provide further context that remote refrigerated display cases are custom produced (i.e., 'built to order' - not 'built to stock' or 'plug-and-play') with energy efficiency factored into the purchasing decision and that these cases are designed to meet both installation types. Energy efficiency advocates support either the distinction between case installations to dedicated versus multi-compressor condensing systems and the inclusion of both installation types. A commenter supporting the distinction to include only those RC models connected to dedicated compressor/condenser systems clarifies that energy savings claims for these installations could be credible and valuable for program integrity especially when accompanied by validation studies in the lab or field; the commenter further suggests evaluating impacts of different refrigerant types on case energy efficiency. | The EPA appreciates the stakeholder comments. Partly due to inability for customers to simply select RC models connected to dedicated remote condensing units over multi-compressor rack systems as well as the implication that installations of cases to compressor/condenser systems may be complex and customized (i.e., RC cases are not sold together with compressors/condensers as a matched unit), EPA has determined not to include in scope remote condensing (RC) models in the ENERGY STAR v5.0 product specification. As part of the spec revision package, the program will provide educational resources on refrigerants as well as energy saving and maintenance tips for remote condensing models and open cases.
| SOC.RC.M and SOC.SC.M | A manufacturer recommends EPA conduct a product availability review to ensure that models qualifying to the new spec provide the same or similar utility as those models not selected for scope consideration. | The EPA intends to include the SOC.SC.M class in draft 1 v5.0.
| Preparation/Buffet Tables | EPA received several mixed responses to the potential inclusion of refrigerated preparation and buffet tables to scope for the ENERGY STAR Version 5.0 specification. Some comments were in strong favor of scope expansion, highlighting preliminary studies which have shown significant energy savings potential associated with these classifications of CRE. However, several other stakeholders emphasized inconsistencies and areas for improvement in the standard test methods, and hence were not in support of EPA expanding the scope to include these products at this time. Others suggested EPA hold off until the next DOE Rulemaking process concludes. | Given uncertainty over the industry accepted test method for preparation and buffet tables as well as over sub-categorization of this class of commercial refrigeration equipment, EPA has determined not to include in scope refrigerated preparation and buffet tables at this time. However, the Agency is interested in further exploring this category for potential scope expansion in a future iteration of the specification. EPA will continue to collaborate with industry stakeholders as well as the American Society for Testing and Materials (ASTM) F26 committee in test method development and refinement.
| Blast chillers and freezers | One manufacturer concludes that given the relatively small market size for its line of SC blast chiller products, no clear preferences among a diverse range of configurations (i.e., under counter, reach-in, roll-in, roll-through), and no standard test method, this product category is not a good candidate for inclusion in the ENERGY STAR commercial refrigerator and freezer product specification v5.0. Another manufacturer confirms that blast chillers are a niche and customizable product category with relatively few units sold. One stakeholder describes blast chiller and freezer varied use in production kitchens: 1) to maximize throughput while the kitchen is open and turned off at night; and, 2) kept on at night with the last batch of food for the next day. Another commenter notes that the Institute of Food Science & Technology recommends blast freezing to preserve food during unexpected supply problems caused by the COVID-19 and that shipments of blast chillers and freezers will likely increase as they are being used more often to provide flexibility and safety to restaurants and commercial kitchens. The commenter adds that with significant energy consumption, there's also a large opportunity for energy savings in this product category. Further, the commenter suggests focusing on an energy efficient metric based on capacity rather than volume or temperature functionality. Another stakeholder also welcomes this product category and recognizes expanding scope may be difficult in the short term because of limited data availability and test standards still being in draft form (both ASHRAE's Standard 220 and ISO/FDIS 22042). In another comment, EPA is requested to wait for the DOE Federal regulation before expanding scope to blast chillers in the ENERGY STAR product specification. | The EPA agrees with these commenters and will not include blast chillers and freezers in scope for the ENERGY STAR commercial refrigerator and freezer product specification at this time on the basis of a lack of standardized test methodology. However, the EPA and DOE will continue to monitor and participate in the work of the ASHRAE SPC 220 project committee developing the test procedure for this product category.
| Walk-in coolers | One manufacturer inquired about whether ENERGY STAR plans to add in scope the walk-in coolers and freezers. | The EPA is not currently scoping or considering walk-in refrigerators and freezers for the ENERGY STAR commercial refrigerator and freezer product specification v5.0. However, this may be a product class EPA may consider scoping in future specification revisions.
| Self-contained and remote condensing units | One manufacturer suggests further review of the commercial refrigeration equipment data to separate out self-contained from remote condensing units. | The EPA appreciates this comment and confirms that all product classes are uniquely evaluated. Further, EPA has determined not to include in scope remote condensing (RC) models in the ENERGY STAR v5.0 product specification.
| Chef bases and prep/buffet tables | Priority should be given to chef bases/griddle stands over prep/buffet tables because prep tables are more complex and the standards are under revision. | The EPA appreciates this comment. On the basis of this and similar comments, the ENERGY STAR commercial refrigerator and freezer product specification v5.0 includes a scope expansion to chef bases and a data collection effort for prep and buffet tables.
| Open display cases | One manufacturer noted that sushi cases are open cases and that the ASHRAE 72 may apply. Another manufacturer indicated that open cases can be connected to either of the following: 1. single matching condensing unit; 2. as a group to a larger condensing unit; 3.as a group to a rack system. | The EPA appreciates these additional comments. Regarding applicability of test procedures and coverage for specific equipment, DOE's definitions at 10 CFR 431.62 would determine appropriate treatment of individual models. Further, EPA continues to exclude open display cases from scope and has determined not to include remote condensing (RC) models in the ENERGY STAR v5.0 product specification.
Testing | Self-contained | One manufacturer notes that horizontal SC models are not used the same way in the U.S. as in Germany such that the U.S. model may not have doors; Europe may be heading toward banning open door models. In addition, the commenter notes SCs may have water and chiller loops issues and to be mindful of recent E.U. EcoDesign regulations that took effect March 2, 2021, per the following: https://ec.europa.eu/commission/presscorner/detail/en/IP_21_818 | The EPA appreciates additional information about the impacts of the E.U. EcoDesign regulations in the European CRE market.
| Ambient Temperatures | Commenters note that there are multiple ambient temperature options (86F and 72F) depending on the test procedure (ASTM F3423, ASHRAE 220, ASHRAE 72) and inquire whether EPA intends to align all testing to one ambient temperature for "kitchen" equipment (prep tables, chef stands, blast chillers)? | While it is ideal to align ambient temperatures EPA and DOE will consider appropriate temperatures for each category given representative use and any industry and/or DOE test methods.
| Chef bases | Chef stands will typically have pans, hotel pans like those used in buffet tables, but inside of drawers since the top has a grille for instance | Thank you for the comment and this will helps us understand how chef bases are being used.
| Preparation/Buffet Tables | Stakeholders noted that there is no typical use of prep table equipment. Each customer sees a different way to utilize the space given for prep tables. It was noted that DOE should address this in test standard development and determine what size pans should be used and also utilize a fully loaded cabinet for storage. Similar to the ASHRAE 72 test, it would make sense to simulate worst case scenario for the energy use to keep the cabinet and pans cooled. ASHRAE 72 addresses all these issues for CRE. While there could be different ambient temperatures, clearances, and loading configurations, a standard approach is needed to compare all units on the same level. | EPA is assembling energy performance data per the currently used test methods, including ASTM and NSF/ANSI 7. The Agency requests stakeholders provide deviations to these test protocols in the notes to submitted data. These test methods are different from ASHRAE 72 and the data assembly template allows "other" test methods if any data are available consistent with an ASHRAE 72 approach.
| Preparation/Buffet Tables | One stakeholder noted that quantitative data to analyze products should include: 1) Refrigerated compartment area in cubic feet (ft3), 2) Pan surface area in square feet (ft2) (or pan count and nominal size), 3) Maximum pan depth in inches (for distinguishing glycol deep well products), and 4) Number of rails (for dual rail systems). EPA should consider all end use applications. Several other manufacturers had similar suggestions for including quantitative data analysis. | EPA has included the information outlined in this comment in the data assembly template. If EPA decides to expand scope to this classification of equipment in a following iteration of this ENERGY STAR specification, the Agency will include these considerations in the analysis.
| Preparation/Buffet Tables | Stakeholders made several comments about questionable results derived from ASTM F2143-01. EPA was made aware that there are inconsistencies as well between ASTM F2143-01; ASTM F2143-16; and NSF/ANSI Standard 7 2016. | EPA is collecting energy performance data from all three test methods and will assess them independently of one another (and in aggregate if data per multiple tests are available for a given model). EPA is aware of how each standard test method delineates from one another, which was the basis for keeping the results separated. The data assembly template has separate tabs for each respective standard test method.
| Preparation/Buffet Tables | Regarding temperature controls, one stakeholder inquired if there are issues keeping the compartment and the pans in the same temperature range given ambient temperatures may differ. | The data assembly template requests information on both pan and compartment temperatures to identify performance under the existing (and any other) test methods.
Educational resources | Open display cases (night curtains) | Several commenters provided further details about night curtain use including the following: night curtains are more common for vertical open cases (6 hours typical for curtain deployment) and may result in greater energy savings; manual curtains are more common while motorized versions (or with a flip of a switch) are more common in Europe; and night curtains are more typical in self contained versus remote condensing units. Open displays are used in a variety of operations (gas stations, small stores, full sized grocery stores). While small convenience stores that are not 24/7 may be more concerned about energy consumption than losing sales, larger stores may be more concerned about labor costs. Factory installed night curtains may result in greater energy savings, while add on curtains may negatively impact energy consumption. The energy savings inherent in night curtain use depends on their sturdiness as well as staff training. As one commenter put it, the issue with night curtains is inconsistent use by staff or changes in business practices. Furthermore, some night curtains may tear after 2-3 months of use and then get discarded; and, some grocers have significant turnover which may impact consistent night curtain use best practices. In addition, very few customers make this purchase. | This is helpful insight into night curtains and it seems energy savings are dependent on night curtain design and consistent use.
| Open display cases (night curtains) | One manufacturer suggests that aluminum night curtains may be less common. Finding a night curtain fabric that would meet UL requirements for burn resistance appeared to be a primary driver for night curtain material design. Meanwhile, there appears to be no differentiation on thermal performance. Savings shown in the discussion guide seemed accurate to this commenter. | Thank you for the comment and it is important to understand the driving factors in night curtain material and design.
| Open display cases (retrofit doors) | Several commenters responded on retrofitting doors to open cases including the following comments: retrofit doors are better now than before; more groceries have added doors; and companies can now disable 20% of compressor racks with doors. Much of the retrofits are happening in chains but not in food coops. Further, corporate responsibility and market pressure is pushing operators to go through with retrofits. DOE’s analysis for the 2014 final rule found that for display cases just meeting the current DOE efficiency standards, open cases consume about three times as much energy as cases with transparent doors. In addition to saving energy, installing doors on open cases can provide a range of other benefits including increased shopper comfort, increased product life, and reduced product losses. Educational resources are encouraged especially targeting retail grocers as the target audience. Retrofits are the most effective for reducing energy use. These commenters encourage EPA to speak to operators on the barriers associated with retrofits and possibly have a spec for retrofit kits or a deployment/ qualified installers programs or guidance. One commenter further explained that dual-flow as an alternative to retrofitting doors may be marginal at best due to the complexity of controlling air-flow; as such, retrofitting doors is the preferred approach to saving energy. Another commenter warns not to rate air curtain performance and to look at overall energy of the case instead because air flow out of rear ducts and flow to the return air grill work together with the air curtain to determine overall energy performance. This commenter has not compared energy consumption to dual air curtains, but additional fans are required which may overshadow energy benefits and customers have not asked for it. One commenter notes that multiple utilities across the country have incentive options for open cases including the following: retrofitting doors, night covers, and strip curtains. | The EPA appreciates these comments and notes that data on retrofitting doors is available for inclusion in the educational guides to further help operators distinguish energy savings from night curtains, dual-air curtains, and other technologies.
| Open display cases (other energy saving options) | A couple of commenters included further ways to save energy in open cases including the following: lighting is considered a big factor as well as fan motors (i.e., moved to commutated motors); also, variable speed compressors and electronically controlled expansion valves have all helped decrease energy consumption. | The EPA appreciates these comments and acknowledges that these energy saving designs can help educate operators when choosing cases.