## Final Draft Comments
Topic | Subtopic | Stakeholder Comment | EPA Response
General | Timing | A couple commenters suggest EPA postpone publication of the ENERGY STAR Version 5.0 specification until after DOE's final rule for commercial refrigeration equipment is published. Aligning with DOE's method of testing and efficiency levels should be prioritized. In addition, one commenter notes that ASHRAE 72 may be updated and the committee is coordinating with DOE as the revisions should be included by DOE and then EPA to remain consistent. If DOE determines a different path, then it would result in a burden on the manufacturers to test equipment and report energy performance. | The Agency would like to assure concerned stakeholders that ENERGY STAR representatives have been collaborating closely with DOE representatives, various equipment manufacturers, and industry groups to further inform the decision to move forward with chef bases for this voluntary program. Through this engagement the ENERGY STAR program has learned that changes to ASHRAE 72 are not expected to impact measured energy consumption.
|  | One stakeholder requests an 18 month effective date from date of final publication to allow manufacturers time evaluate any required changes that may be needed to maintain product qualification, identify required design or component changes, source and acquire components, and implement changes into their production. Supply chains for components have been severely impacted by recent pandemic challenges, significantly impacting availability and extending lead time of components. | EPA understands there are considerations, evaluations, procedures, and coordination that take time and resources when planning and executing changes to improve equipment efficiency. The Agency is also aware of the supply chain issues that result in equipment and materials delivery delays. Recognizing that the ENERGY STAR program is voluntary and is designed to recognize leadership, and further that there are products on the market today that can meet these criteria, we are retaining the December 21, 2022 effective date. Partners can certify their products when they are ready to do so.
| Refrigerant Charge | Commenters expressed appreciation to EPA for releasing the low GWP refrigerant data. In addition, they suggest the Agency list refrigerant charge amounts and/or multiple compressors along with the refrigerant type. This would allow customers to see what other low-GWP refrigerants are used in larger equipment with charges above 150 grams. | As noted in the Draft 1 comment response matrix, charge size was not included in the Version 5.0 Draft 1 and will not be requested of partners for the final specification.
Definitions | Commercial refrigeration equipment doors | Stakeholders noted an inconsistency in reference to DOEs door definition and suggested adding drawers to the ENERGY STAR definition as well as removing the reference to drawers from the chef base section in Table 1. This would avoid confusion and add clarity, preventing any misinterpretation that chef bases with vertical and horizontal portions are not eligible. | EPA has added DOEs definition of doors to the final product specification under Section 1.A.23. and removed the words 'Doors or Drawers' from the chef base section in Table 1.
Scope | Remote condensing and other self-contained equipment classes | Stakeholders support EPA's decision to amend the VCS.SC.M and VCS.SC.L levels, and to expand scope to include SOC.SC.M as well as CB.SC.M and CB.SC.L. Upon Draft 1 publication, EPA included a data assembly template to collect performance data on refrigerated preparation and buffet tables. One commenter encourages EPA continue to gather performance data of those equipment classes for scope expansion in a future iteration of this specification. Other stakeholders suggest including refrigerated preparation tables and to track work to update ASTM F2143-18 and review the existing California Energy Commission (CEC) database. They insist the prep table class be categorized into several categories, including refrigerated rail, air cooled top compartment, with or without a bottom compartment focusing on self-contained, single compressor, bottom refrigerated compartment, and passively air-cooled top compartment category. Furthermore, stakeholders encourage EPA to continue consideration for blast chillers and freezers in a future iteration of this specification; and, another suggests EPA consider ice cream freezers as well. Other stakeholders support the exclusion of: buffet tables, preparation tables walk-in coolers, blast chillers and freezers, horizontal open equipment, vertical open equipment, semi-vertical open equipment, remote condensing equipment, ice cream freezers, and equipment rated at the lowest application product temperature (LAPT) in the Version 5.0 Final Draft. In particular, these commenters appreciate EPA understanding the complexities of remote condensing equipment and exclusion from scope. | EPA reiterates that all product classes are uniquely evaluated and that scope will remain unchanged from that proposed in the ENERGY STAR Final Draft Version 5.0 specification. That means remote condensing (RC) models will remain out of scope at this time. However, EPA will continue to track the refrigerated preparation table market, test method development/revision activities, and data assembly efforts. The Agency will also consider categorizing this class based on unique designs and features as described. This information will be useful as EPA representatives continue to collaborate with industry on the ASTM standard test method revisions. EPA will continue active monitoring and participation in the development of ASTM and ASHRAE standards for blast chillers and will reconsider them for future specification revisions.
| Chef Bases | Several commenters strongly disagree with the inclusion of chef bases and griddle stands. Absent a completed industry analysis to illustrate the effects of ambient temperatures and hot surface loads is concerning. The commenters suggests the proposed ENERGY STAR levels highly questionable, absent a more robust data set based on an industry accepted test procedure that reflects the conditions for this type of refrigeration equipment. There is concern that scope expansion for a class of equipment without a well-vetted, industry test method and sufficient data set a precedent for the Agency to further expand scope in future iterations of the specification to other equipment families in the absence of baseline energy performance data. Stakeholders encourage EPA to work with ASHRAE SSPC 72 and the U.S. Department of Energy (DOE) to incorporate chef bases and griddle stands within the supported industry test method once further appropriate analysis is completed. Several stakeholders request that EPA hold off scope expansion to chef bases and griddle stands until acceptable test procedures are developed by both ASHRAE 72 and DOE. | ENERGY STAR has determined that the existing DOE test procedure is appropriate for testing chef bases and griddle stands. In the October 2013 test procedure NOPR, DOE stated that it believed that chef bases and griddle stands can be tested using the DOE test procedure for commercial refrigeration equipment. While manufacturers are not required to make representations of the energy use or energy efficiency of chef bases or griddle stands (because that equipment is not subject to energy conservation standards), DOE stated that a manufacturer must use the DOE test procedure to make such representations. 79 FR 17726 (Mar. 28, 2014). Regarding hot surface heat loads, the Southern California Edison test data for chef bases and griddle stands indicates that operation of cooking equipment did not significantly impact energy consumption of chef bases and griddle stands. Additionally, while chef bases and griddle stands may be operated in a range of ambient conditions, the test conditions in the DOE test procedure are representative of typical commercial refrigeration equipment operation, and harmonizing the chef base and griddle stand test procedure with the test procedure used for other equipment operated in commercial kitchens would allow for efficiency comparisons across different equipment categories (i.e., chef bases and griddle stands could be compared to undercounter or worktop CRE used in similar environments).
| Ice Cream Freezers | Commenters suggest the Agency consider ice cream freezers for scope expansion in a future iteration of this specification. They suggest that EPA evaluate all ice cream freezers based on the standard ice cream freezer temperature of -15ºF and refrigerated volume instead of total display area (TDA) regardless of the category. | There will be a time in future iterations of the ENERGY STAR Commercial Refrigerators and Freezers specification to consider various classifications of commercial refrigeration equipment, including ice cream freezers, should savings be compelling and differention be possible.
Criteria | SOC.SC.M | One commenter requests the Agency revisit the proposed criteria for SOC.SC.M. In particular, the commenter reiterates a proposed revision of the criteria to emphasize efficiency for products with a TDA of less than 40 square feet. | EPA understands that the 20 ≤ TDA < 40 bin has a slightly higher pass rate than the typical target, but the overall pass rate for this class of refrigeration equipment remains less than 29%. Considering this is a new class of eligible commercial refrigerators for the ENERGY STAR product specification, the Agency intends to retain the levels as proposed in the final draft to encourage initial participation and support innovation across brands.
| Chef Bases | Stakeholders support the Agency's decision to adjust the CB.SC.M levels. The commenters support the decision to allow a slightly greater percentage of models to pass in this class to encourage more participation in the ENERGY STAR program. Stakeholders encourage EPA to consider further amending the levels in a future iteration of the specification. | The Agency appreciates stakeholder support for this revision in the specification.
| Chef Bases (doors) | One commenter recommends EPA consider the differences between models with traditional chef base drawers (where the inserted pan becomes the holding container) and insulated chef base drawers where the product can be placed directly in the drawer (and can also hold pans). The commenter notes possible ASHRAE Standard 72 (2018) revisions to door-opening procedures for drawers and volumetric calculations. | The Agency will consider the differences between these types of chef bases for a future revision of this product specification. As models achieve ENERGY STAR certification, EPA will be able to leverage collected information to determine if separation is needed. In the meantime, EPA will continue to track development of ASHRAE standards for chef bases.
| Refrigerated Prep and Buffet Tables | Stakeholders suggest normalizing preparation table energy based on a formula considering the number of standardized top compartment containers and bottom compartment volume. | The Agency will keep this option in mind as performance data continue to be made available and as EPA representatives continue to collaborate with industry on the ASTM standard test method revisions.