## Instructions
ENERGY STAR® Professional Imaging Equipment Test Reporting Template - Instructions
This Test Reporting Template is to be used for recording data/measurements in accordance with the Version 3.0 ENERGY STAR Profesional Imaging Equipment Test Method. This template includes 4 worksheets, in order to document the general lab information, pre-test information, TEC test measurements and DFE test measurements.
If you have any questions, please contact:
Ryan Fogle, EPA Fogle.Ryan@epa.gov

## General
ENERGY STAR® Professional Imaging Equipment Test Reporting Template - General Information
Laboratory Information
Laboratory Name
Contact Name
Phone Number
Fax Number
Mailing Address
Email Address
Date of Agreement Between Laboratory and Manufacturing Partner
Test Officer
Date Sample Testing Began
Date Sample Testing Completed

## Pre-Test Information
ENERGY STAR® Professional Imaging Equipment Test Reporting Template - Pre-Test Information
Unit Under Test General Information
Manufacturer
Model Name
Model Number
Serial Number
Production Date
Rated Voltage | V
Rated Frequency | Hz
Rated Amps | A
Unit Under Test Configuration
Dimensions - height | inches
Dimensions - width | inches
Dimensions - depth | inches
Unit Under Test Description
Product Type (Printer, copier, scanner, fax machine, MFD, digital duplicator, or mailing machine)
Media Format (Small, standard, large, or continuous)
Marking Technology
Product Speed for Calculations and Reporting (Highest claimed speed), sP | ipm
Product Speed for Testing (As-shipped speed) | ipm
Test Mode (Simplex or duplex)
Test Jobs
Calculated Product Speed (as determined in Table 5 of ENERGY STAR Professional Imaging Equipment Test Method)
Number of Copies per Job, NCOPIES (as determined by Equation 2 of ENERGY STAR Professional Imaging Equipment Test Method )
Print Driver (if unit has print capability)
Version used for Testing
List of non-default/non-specified settings
(Name and value of print driver setting set according to tester's discretion) | Setting name
Resolution @ As-shipped Speed | dpi
Resolution @ Draft Speed | dpi
Network Connection
Network Connection Type (as specified in Table 5 of ENERGY STAR Professional Imaging Equipment Test Method)
Dc-powered Units
Ac Source Manufacturer
Ac Source Model Name
Ac Source Model Number
Unloaded dc source power, Ps | W

## TEC Measurements
ENERGY STAR® Professional Imaging Equipment Test Reporting Template - TEC Test Measurements
Table 8 Measurements - Units with print capability
Step 1 Off Energy | Wh
Step 1 Testing Interval Time | min
Step 2 Start-up Energy | Wh
Step 2 Testing Interval Time | s
Step 3 FPPT From Ready (Transition Energy) | Wh
Step 3 Testing Interval Time #1 | s
Step 3 Production Print 1 Energy | Wh
Step 3 Number of Images | images
Step 3 Testing Interval Time #2 | min
Step 4 Ready Energy | Wh
Step 4 Testing Interval Time | min
Step 5 FPPT From Ready (Transition Energy) | Wh
Step 5 Testing Interval Time #1 | s
Step 5 Production Print 2 Energy | Wh
Step 5 Number of Images | images
Step 5 Testing Interval Time #2 | min
Step 6 FPPT From Ready (Transition Energy) | Wh
Step 6 Testing Interval Time #1 | s
Step 6 Production Print 3 Energy | Wh
Step 6 Number of Images | images
Step 6 Testing Interval Time #2 | min
Step 7 Sleep Mode Energy | Wh
Step 7 Testing Time Interval | min